## Startup (hidden)
To start, enable macros

## Application Data Sheet
EnviroGear V Series Application Data Sheet
Project: | [9 empty] | Prepared for: | [8 empty] | Prepared by:
Date: | [9 empty] | Name: | [8 empty] | Name:
Quote #: | [9 empty] | Company: | [8 empty] | Company:
Project Name: | [9 empty] | City: | [8 empty] | City:
[10 empty] | State/Province: | [8 empty] | State/Province:
Tag # or ID #: | [9 empty] | Country: | [8 empty] | Your salesperson: | [5 empty] | validation lists
Fluid Info | [24 empty] | °F | psi gauge
| Fluid Name or Description: | [9 empty] | Properties (at normal operating condtitions): | [10 empty] | Will the fluid properties sometimes be different? |  |  | °C | ft fluid gauge
[12 empty] | Temperature: | [5 empty] | units: | [6 empty] | °K | m fluid gauge
[12 empty] | Viscosity: | [5 empty] | units: | [7 empty] | bar gauge
| Does the fluid contain solids or abrasives? | [10 empty] | Specific Gravity: | [12 empty] | cps | kg/cm2 gauge
[12 empty] | Vapor Pressure: | [5 empty] | units: | [6 empty] | cst | KPa gauge
[25 empty] | SSU | in Hg gauge
[25 empty] | mPa-s | mm Hg gauge
Flow & Duty Requirements | [25 empty] | psi abs.
| Required Flowrate: | [5 empty] | units: |  |  |  | Will the pump run dry? If YES, explain. | [8 empty] | Are there any unusual duty cycles (cleaning, system testing, upset conditions, etc…)? |  |  |  |  | USGPM | ft fluid abs.
[25 empty] | USGPH | m fluid abs.
| Typical Duty Cycle: |  |  |  | Pump starting condition: | [19 empty] | liter/min | in Hg abs.
|  | hrs per cycle: |  |  |  |  | Instant On | [17 empty] | liter/hr | mm Hg abs.
|  | cycles per day: |  |  |  |  | Soft Start |  |  |  | Will the flowrate need to be variable? | [13 empty] | m3/hr | bar abs.
|  | days per week: | [22 empty] | lb/min | kg/cm2 abs.
[25 empty] | kg/min | KPa abs.
Pressure Conditions (at the pump) | [24 empty] | yes | 115V, 1ph
| Discharge Pressure: | [6 empty] | units: | [5 empty] | Will the pressure conditions sometimes be different? | [10 empty] | no | 230V, 1ph
| Suction Pressure: | [6 empty] | units: | [17 empty] | 230V, 3ph
460V, 3ph
Pump Features
| Materials of Construction: |  |  |  |  | Seal Type: | [9 empty] | Port Style: |  |  |  |  | Bushing Material:
|  |  | Cast Iron (Ext) / |  |  |  |  | Packing (PTFE Graphite) | [8 empty] | ANSI 125# RF | [5 empty] | Hardened Cast Iron
|  |  | Ductile Iron (Int) |  |  |  |  | Packing (Wedgee) | [7 empty] | Jacket Options: | [6 empty] | Bronze
[8 empty] | Triple Lip Seal (PTFE) | [8 empty] | Head | [5 empty] | Tungsten carbide
[8 empty] | No Seal (customer supplied) | [8 empty] | Valve | [5 empty] | No Bushing (customer supplied)
| Relief Valve Cracking Pressure: | [13 empty] | Any Special Features Needed? (other seal type, etc):
|  |  | 50 psid | 80 psid |  |  |  |  | 125 psid |  | 160 psid
|  |  | 60 psid | 90 psid |  |  |  |  | 130 psid
|  |  | 70 psid | 100 psid | [6 empty] | No Valve
Port Orientation & Shaft Rotation
|  |  | RT | LT |  |  |  |  | TR |  |  | TL | [8 empty] | Note: Case is rotatable 90 degrees without the need to un-install. Consult IOM for details.
Existing Pump Information | [5 empty] | This section DOES NOT apply if the pump is for a new application.
| Manufacturer: | [11 empty] | Pump speed: | [5 empty] | Is the existing motor variable speed?
| Model Number: | [11 empty] | Motor HP: | [5 empty] | Will existing baseplate & driver be re-used?
Matl of Construction:
Ports (size and style):
Other Info (including any known performance or reliability problems):
Driver & Baseplate Features | [6 empty] | Contact factory for details
| Select baseplate style: | [9 empty] | Select motor type: | [8 empty] | Is motor controlled by inverter?
|  |  | EnviroBase SD | [9 empty] | TEFC, premium efficiency | [6 empty] | Voltage/phase:
|  |  | EnviroBase HD | [9 empty] | XP, Cl 1, Div 1, Group D, T2B | [6 empty] | Any special features needed?
XP, Cl 1, Div 1, Group C&D, T3C
other:
Other Application Info
rev. 2020-11-3